## Slide 1
t
U(xi, tn) = Uin
time step n+1
time step n
x
U0n
Ui-1n
Uin
Ui+1n
UIn
U0n+1
Ui-1n+1
Uin+1
Ui+1n+1
Uin+1
x0
xi
xi+1
xI
xi-1
Δx
Δt

## Slide 2
U(xi, tn) = Uin
time step n+1
time step n
t
x
U0n
Ui-1n
Uin
Ui+1n
UIn
U0n+1
Ui-1n+1
Uin+1
Ui+1n+1
Uin+1
x0
xi
xi+1
xI
xi-1
Δx
Δt

## Slide 3
n+1
n
t
x
U0n
Ui-1n
Uin
Ui+1n
UIn
U0n+1
Ui-1n+1
Uin+1
Ui+1n+1
Uin+1
x0
xi
xi+1
xI
xi-1
Δx
Δt

## Slide 5
Tair
Twall
Rair, wall
Rair, amb
Tamb
Cair
Cwall

## Slide 6
C1
C0
Tamb
R0, amb
R01
construction
air

## Slide 7
C1
C0
C3
C2
R3, amb
Tamb
Tamb
R23
R0, amb
R01
R12
1st floor
ground
floor

## Slide 8
C1
C0
Tamb
R0, amb
R01
ground
floor
C0: air
C1: wall
C2: rad
C3: buf
C3
C2
R23
1/R02=U*A
Qinst

## Slide 9
C1
C0
Tamb
R0, amb
R01
ground
floor
C0: air
C1: wall
C2: radiator
C2
1/R02=U*A
Qinst

## Slide 10
C1
C0
Tamb
R0, amb
R01
C0: air
C1: wall
C2: radiator
C2
1/R02
=
U*A
Qinst

## Slide 11
C1
C0
C2
C3
R2, amb
Tamb
Tamb
R23
R0, amb
R01
R13
1st floor
ground
floor
C0: air, gf
C1: wall, gf
C2: air, ff
C3: wall, ff
R13: R gf, ff

## Slide 12
C1
C0
C3
C2
R3, amb
Tamb
Tamb
R23
R0, amb
R01
R12
1st floor
ground
floor
C0: air, gf
C1: wall, gf
C3: air, ff
C2: wall, ff
R12: R gf, ff

## Slide 13
These circuit symbols are for drawing schematics in PowerPoint. For an example, see the next chart.
Component circuit symbols here are “groups” to retain their integrity under translation and rotation and shrinking.
To revise a symbol, use PowerPoint’s Home::Arrange::Ungroup function and then regroup when done.
Enjoy!
-Mike Lampton

## Slide 14
Neon Lamp power supply
Concept: 9-stage voltage multiplier from 100kHz square wave oscillator
Input: 28vDC at 5mA; range 18 to 36v allowable.
Lamp: up to 120vdc to start; 300uA available at 60v lamp drop
Monitor: 10K resistor providing lamp current monitor
Series safety: 100 ohm series input resistor to limit power-on surge current
Shunt safety: One TranSorb input safety zener for example JAN-1N6120
ICs: One 7815 input regulator; one 7555 oscillator
Rectifiers: 18 fast recovery diodes, for example JAN-1N4148
7815
+28v
return
7555
+15v
100kHz 15vpp square wave
Lamp current monitor
10KΩ
200KΩ

## Slide 15
Tamb
Rth = 0, C= inf
Rth = inf, C= 0

## Slide 16
Tamb
Rth = 0, 1/Rth= inf
Rth = inf, 1/Rth = 0
Tamb
Rth = 0, C= inf
Rth = inf, C= 0

## Slide 17
Ra,a
Rair
Ra,w
Rwall
Tamb
0
Rth = 0, 1/Rth= inf
Rth = inf, 1/Rth = 0
Tamb
Rth = 0, C= inf
Rth = inf, C= 0
1
2
3
4
air
wall
interface air-wall
interface
amb-air
Ca,a =0
Ca,w =0
Cair
Cwall

## Slide 19
C1
C0
Tamb
R0, amb
R01
C0: air
C1: wall
C2: radiator
C2
1/R02
=
U*A
Qinst
R0, amb
Cbottom
Cmid
Rbm
Rmt
Ctop
Tfeed
Ttop
Tbottom
Treturn
House
Buffer vessel
Heat Pump
Tcond, out
Tevap, in
Tcond, in
Tevap, out

## Slide 20
C1
C0
Tamb
R0, amb
R01
Cbottom
Cmid
Rbm
Rmt
Ctop
Tfeed
Ttop
Tbottom
Treturn
House
Buffer vessel
Heat Pump
Tcond, out
Tevap, in
Tcond, in
Tevap, out
Frad
FHP

## Slide 21
C1
C0
Tamb
R0, amb
R01
Cbottom
Cmid
Rbm
Rmt
Ctop
Tfeed
Ttop
Tbottom
Treturn
House
Buffer vessel
Heat Pump
Tcond, out
Tevap, in
Tcond, in
Tevap, out
Frad
FHP
Radiator

## Slide 22: house module
list of thermal capacities related to the parts of the house (air, walls)
  label
  heat capacity
list of heat conductance between two capacities
  label
  conductance value
  label capacity 1
  label capacity 2
create a network and the conductance matrix and C-matrix

## Slide 23: buffer vessel
list of thermal capacities representing the layers in the vessel with heat exchange by conductance and flow induced convection
nr of layers
  capacities (as in house)
  conductances (as in house)
   contribution to conductance matrix and C-matrix
flows
  label
  heat capacity of medium (water)
  ordered list of capacity labels (order of the direction of the flow)
  flow size (can be changed by control function)
  flow end points ( nodes that need to be connected to other model parts to close the flow loop)
   flow matrix, which can be added to the conductance matrix
    flow matrix is time dependent due to control on the flow rate (flow rate will be piece-wise constant)

## Slide 24: predefined temperatures
predefined temperature is a node with fixed (or piece-wise constant) temperature, connected to one or more capacities by a conductance link
  node label
  temperature value:
    time stamp start
    temperature
  connected nodes:
    node label
    conductance
contribution in the Qdot vector + diagonal matrix which can be added to the conductance matrix

## Slide 25: radiator
element that connects a flow to a thermal capacity node
  label
  in-flow
    label connected node
    temperature connected node
  out-flow
    label connected node
  connected capacity
    label node
    temperature connected node
  internal:
    equation for heat transfer, depending on temperature in flow and connected capacity
    yields heat transfered and return temperature
   contributing to Qdot vector at connected node and at node connected to return flow

## Slide 26: heat pump
element connecting two flows
  label
  max-power
  CoP
  in-flow cond
    label connected node
    temperature
  out-flow cond
    label connected node
    temperature
  in-flow evap
    temperature
  out-flow evap
    temperature
  internal: non-linear equation for heat-transfer between the two flows
  computes heat transfer